## Sheet1
Building 51 AH1 zone controls upgrade
EA | NAME | PART NUMBER | DESCRIPTION | COST EA | COST
1 | Temco XXXX | T3-BB-1kPT | T3 series Big brother bacnet controller | 255 | 255
12 | Homeywell XXXX | MN7510A2001 | Actuator, 24VAC only,88 inlb, Modulating | 126.99 | 1523.88
13 | Temco XXXX | RTS-7 | Rm temp sensor,10K Type2 thermister | 3.5 | 45.5
1 | control transformer | Grainger 41D401 | 150 va 24 volt 120 volt | 31.21 | 31.21
1 | Thermostat wire | Grainger 5LWP4 | 18 AWG 8 conductor | 112.57 | 112.57
1 | Thermostat wire | Home Depot 100091 | 18 AWG 2 conductor | 16.42 | 16.42
10 | 3/4 X 10 EMT | Home Depot 203114 | 3/4 " EMT | 6.2 | 62
1 | 3/4 EMT coupling 10 pk | Home Depot 1000514890 | 3/4 EMT set screw coupling | 10.84 | 10.84
10 | 1/2 X 10 EMT | Home Depot 203106 | 1/2" EMT | 3.52 | 35.2
1 | 1/2" EMT coupling 50 pk | Home Depot 839671 | 1/2" EMT set screw coupling | 12.36 | 12.36
1 | 3/4" connectors 25 pk | Home Depot 1000517691 | 3/4" set screw connectors 25 pk | 12.8 | 12.8
1 | 1/2" connectors 50 pk | Home Depot 1000517761 | 1/2" set screw connectors 50 pk | 14.4 | 14.4
1 | 3/4" screw conduit body (LB) | Home Depot 937660 | 3/4" metal set screw LB | 11.34 | 11.34
1 | 1/2" 1 hole strap 100 pk | Home Depot 286336 | 1/2" 1 hole strap 100 pk | 11.97 | 11.97
1 | 3/4" 1 hole strap 100 pk | Home Depot 286448 | 3/4" 1 hole strap 100 pk | 17.5 | 17.5
6 | 4 X 4 junction box | Home depot 434981 | 4 square metal juncrion box | 2.2 | 13.2
6 | 4 X 4 cover | Home depot 876793 | 4 square metal juncrion box cover | 0.62 | 3.72
6 | 4 X 4 extender | Grainger 1RVU4 | 4 square metal juncrion extension ring | 4.68 | 28.08
2 | 3/8 flex | Grainger 3FLE9 | 3/8"Aluminum flex 25 feet | 24.92 | 49.84
1 | 1/2 box connector 100 pk | Home Depot 472018 | 3/8 flex to 1/2 box connector 100 pk | 18.7 | 18.7
12 | 90° flex connector | Home Depot 292494 | 3/8 flex to 1/2 90° box connector | 1.48 | 17.76
1 | ancor kit | Home Depot 512702 | #8 X 1-1/4 ancor kit | 12.94 | 12.94
13 | Temco XXXX |  | 4 inch probe, 10k type 3 thermistor | 7.9 | 102.7
0
0
0
0
0
2419.93