## Sheet1
Building 51 AH1 controls upgrade
EA | NAME | PART NUMBER | DESCRIPTION | COST EA | COST
1 | Temco Tiny brother | Temco T3-TB-8i | Bacnet panel | 125 | 125
1 | Yaskawa VFD | Yaskawa Z1B1B0011 | VFD | 1629.51 | 1629.51
2 | Honeywell | Honeywell ML7984A4009 | valve actuaror | 199.95 | 399.9
2 | Honeywell | Honeywell MS7520A2007 | spring return damper actuaror | 253.95 | 507.9
4 | Temco | Temco DTS-WP-12-7 | 10K thermistor duct temp sensor | 8.5 | 34
1 | Temco | Temco HUM-N | Hum/Temp Trans, wall mount | 24 | 24
1 | Temco | Temco HUM-D | Hum/Temp Trans, duct mount, 8in probe | 52 | 52
1 | Dwyer 616KD-0 | Grainger Item # 24Z017 | differential transmitter | 96.05 | 96.05
2 | Dwyer PAFS-1005 | Grainger Item # 40XD20 | air velocity sensor | 19.66 | 39.32
3 | Functional Devices RIBU1C | Grainger Item # 5LE35 | General purpose relay | 19.68 | 59.04
1 | Southwire | Home Depot Model# 56918945 | 500 ft cat6 Ethernet cable | 90.18 | 90.18
1 | Southwire | Home Depot Model# 64162141 | 100 ft 18/2 tstat wire | 16.42 | 16.42
1 | Ideal 85-376 | Grainger item # 54DV78 | pkg 50 RJ45 Ethernet cable ends | 25.66 | 25.66
5 | 10' stick 3/4" EMT | Grainger item # 6XC31 | 3/4 inch EMT | 7.77 | 38.85
2 | 3/8" flexable aluminum conduit | Grainger item # 3FLE9 | 25' coil 3/8" flexable aluminum conduit | 30.75 | 61.5
12 | 3/4" EMT Set Screw Connector | Grainger item # 52AU46 | 3/4" EMT Set Screw Connector | 0.88 | 10.56
12 | 3/4" EMT Set Screw Coupling | Grainger item # 52AU52 | 3/4" EMT Set Screw Coupling | 0.93 | 11.16
15 | 3/8" flex connector | Grainger item # 2DDE4 | 3/8" malleable iron flex connector | 1.41 | 21.15
6 | 3/8" 90° flex connector | Grainger item # 2RET3 | 3/8" 90° steel flex connector | 3.8 | 22.8
1 | one hole 1/2" conduit strap | Grainger item # 6XC44 | one hole 1/2" conduit strap pkg 50 | 12.59 | 12.59
1 | strut channel | Grainger item # 3ULW4 | Long Slotted Standard Strut Channel 10' | 35.06 | 35.06
3 | electrical Box | Grainger item # 2DDA6 | steel 2-1/8 X 4 X 4 box | 5.78 | 17.34
3 | electrical Box extension ring | Grainger item # 6XC71 | steel 1-1/2 X 4 X 4 extension | 5.88 | 17.64
6 | Electrical Box Cover | Grainger item # 3KF44 | steel 4 x 4 electrical box cover | 1.38 | 8.28
1 | Conical Hollow Wall Anchor | Grainger item # 40L972 | Hollow Wall Anchor kit #14 x 1-3/8" | 20.62 | 20.62
1 | Steel Channel Spring Nut | Grainger item # 5YE10 | Steel Channel Spring Nut 1/4-20 pk 25 | 30.36 | 30.36
1 | 24 v transformer | Grainger item # 2ETD4 | 120 v to 24 v transformer 75va | 32.59 | 32.59
0
3439.48